**Building Assessment**

**Team:**  
Hong Kong Student Association

**Name of building:**  
Asian American Cultural Center  
  
**Address:**  
1210 W. Nevada Street, Urbana, IL 61801

**Summary:**

General

* Windows and doors are in good condition.
* Light fixtures are in good condition.
* Air conditioning filters are clean.
* Air vents are clean.

Stairways

* Doors are securely closed at all times.

Bathrooms

* All lights are automatic and movement sensitive.
* Taps are securely closed.

Kitchen (1st Floor)

* All electrical appliances are in good condition.
* Air vents are clean.

1st Floor

* All electrical appliances are plugged in when not in use.

2nd Floor

* All electrical appliances are plugged in when not in use.
* Computers are left on when building closes.

Basement

* Lights are left on when not in use.

**Suggested Fixes:**In order of importance.

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Fix** | **Location** | **Description** |
| 1. | Adding weather stripping | All windows | Not all windows have weather stripping which lowers energy efficiency. |
| 2. | Energy-efficient light bulbs | All floors | Not all light bulbs are energy-efficient. |