## ImpactCalculator
University of Wiscosnin-Madison Student Green Fund
Impact Calculator
Reducing bathroom water consumption: replacing toilets with high efficiency dual-flush (low flow option) valve units on campus
Data Input
|  | Units | Please show your work, state your assumptions, and cite your data sources
Estimated potential life of the existing system (in years) | 25 | Years | Estimate from Mike Henry, buildings & grounds superivsor for UW Housing
Years of service to date of existing system (in years) | 11 | Years | Data from Mike Henry, buildings & grounds superivsor for UW Housing
Potential years of service remaining for existing system | 14 | Years
Potential life of the proposed system (in years) | 15 | Years | According to UW Housing, the newly installed 0.25 gpf units "have had no repairs since they have been installed" and "everything seems to be going well" (~2 months as of mid-October, 2017).
Average annual consumption of existing system | 4256988.75 | gallons | To gain best estimates of daily usage, 15-minute interval data recorded urinal use and toilet flushing (for all genders) at Chadbourne, Ogg, and Phillips residence halls (see attached data collection sheet for raw values and more information). Usage was averaged by gender for all three locations and used as a proxy for daily consumption rates. Total consumption was calculated for each respective location's operation hours (i.e. 7:30a-5:30p) and did not include hours for when each building was closed.
Average cost per unit | 0.0059809 |  | UW-Madison pays $0.0059809 per/gallon of cold water
Annual cost of current system | 25460.624
Average annual consumption of proposed system | 1037310 | gallons
Annual cost of proposed system | 6204.0474
Carbon Converstion Multiplier: convert energy/gas/solid waste units to carbon emissions | 6275.7255 | CO2-equivalent greenhouse gas (lbs.) | According to WECalc.org, area code 53703 uses 0.0035 kWh of energy for every 1 gallon of water ued indoors. Furthermore, electricity generated in WI emits 1.73 pounds of CO2-equivalent greenhouse gases per kWh generated. Lastly, 0.00605 lbs. of CO2-equivalent greenhouse gases are emitted from each gallon of cold water used indoors.
Economic Impact
Annual cost savings | 19256.5766
Cost savings over the life of the proposed system | 288848.6495
Environmental Impact
Annual reduction in resource consumption | 3219678.75 | gallons per year
Reduction in resource consumption over the life of the proposed system | 48295181.25 | gallons over 15 years, total
Annual reduction in carbon production | 19479.0564 | CO2-equivalent greenhouse gas (lbs.) annually
Reduction in carbon production over the life of the proposed system | 292185.8466 | CO2-equivalent greenhouse gas (lbs.), over 15 years
| Describe the anticipated impact of your proposed project on the following |  |  | What evidence suggests this?
Indoor air quality | N/A |  |  | N/A
Exposure to environmental contaminants | N/A |  |  | N/A
Social Impact
| Describe the anticipated impact of your proposed project on the following |  |  | What evidence suggests this?
Workplace safety | N/A |  |  | N/A
Educational opportunities
Creation of aestheticly pleasing and social public places

## Budget
University of Wiscosnin-Madison Student Green Fund
Budget Request
Reducing bathroom water consumption: replacing urinals with high efficiency low-flow units on campus
Budget Item | Green Fund Request | Host Facility Contribution | Outside Grant/Rebate | Total | Explain how you arrived at this cost estimate and your sources of information
Zurn AquaVantage 1.1/1.6 dual-flush valve | 197.73 |  |  | 197.73
Retrofit hardware |  |  |  | 0
Labor to procure materials |  | 900 |  | 900 | Estimate from UW Business Services procurement staff (30 person hours @ $30/hr)
Labor to install materials | 7500 |  |  | 7500 | Estimate from Physical plant staff (250 person hours @ $30/hr)
Labor to educate residents |  | 600 |  | 600 | Estimate from residence life staff (40 person hours @ $15/hr)
Labor to coordinate the project |  | 1200 |  | 1200 | Estimate from Ogg facilities staff (40 person hours @ $30/hr)
TOTAL | 7697.73 | 2700 | 0 | 10397.73
Budget Payback to Green Fund
Budget request from UW-Madison Green Fund | 7697.73
Estimated annual cost savings | 19256.5766
Estimated cost savings for the life of the proposed system | 288848.6495
Years to payback if applicant paid back total Green Fund request | 0.39975
Committed years of returning cost savings to the Green Fund | 15
Total funds comitted to payback to the Green Fund | 288848.6495
Total funds returned to the host facility over the life of the installation | 0
Note on B6: Microsoft Office User: insert correct cost for each unit, as well as the total number to be included

## Units
Water
1 | UW-Madison pays $0.0033100/gallon for water usage and $0.0026709/ gallon for sewer
2 | Water is metered on the way into a building but not out into the sewer. The utility assumes the same value for sewer as water usage, so the total charge for water and sewer is $0.0059809/gallon
3 | The sewer rate for food service buildings may go up soon. The utility assumes more solids go into sewer system from food service. A case could be made to avoid this additional charge by demonstrating composting practices.
4 | The UW-Madison pays $0.0434/US ton-hr for chilled water
Solid Waste
1 | UW-Madison pays $45/ US ton in tipping fees at the landfill. A trash truck transports roughly 10 tons/ load. It costs roughly $0.50/ mile to drive the truck to the landfill which is a 10 mile round trip. Two staff people operate the truck at roughly $30/hour for 1.5 hours round trip per person.
2 | UW-Madison manages its own waste hauling. This allows significant fiscal autonomy to pay back a facility that reduces the load going to the landfill.
3 | See Water line 3 for additional information on compost
Gas
1 | UW-Madison pays $3.8932/MM Btu
2 | Kitchens have a meter for cooking gas
Steam Heat
1 | UW-Madison pays $4.92/MM Btu
2 | Difficult to control at the building level
Electricity
1 | UW-Madison pays $0.0386/kWh for Summer On Peak (day), $0.0250/kWh for Summer Off Peak (night), $0.0371/kWh for Winter On Peak (day), and $0.0250/kWh for Off Peak (night)
Carbon
1 | Different sources of electricty have different carbon footprints. www.eia.gov provides some helpful equivilents for electricity and gas units to carbon emissions
2 | See "7_GreenFund_Application_CarbonCalculationResources" for additional resources

## Example_ImpactCalculator
University of Wiscosnin-Madison Student Green Fund
Impact Calculator
Lighting Efficiency Upgrades in the Hallways of Ogg Residence
Data Input
|  | Units | Please show your work, state your assumptions, and cite your data sources
Estimated potential life of the existing system (in years) | 20 | Years | Estimate from Juan Gonzalez, facilities manager for Ogg Residence
Years of service to date of existing system (in years) | 15 | Years | Procurement records show lighting was last updated in 2002
Potential years of service remaining for existing system | 5 | Years
Potential life of the proposed system (in years) | 20 | Years | Quote from manufacturer (General Electric) see attached
Average annual consumption of existing system | 150000 | kWh | The building is metered. Average from utility bills from the last 5 years
Average cost per unit | 0.031425 |  | Took an average of on and off peak and summer and winter rates for kWhs (0.0386 + 0.025 + 0.025 + 0.0371) / 4 = 0.031425
Annual cost of current system | 4713.75
Average annual consumption of proposed system | 10000 | kWh | Quote from manufacturer (General Electric) see attached
Annual cost of proposed system | 314.25
Carbon Converstion Multiplier: convert energy/gas/solid waste units to carbon emissions | 0.00108 | US tons of carbon/kWh | 2.16 lbs carbon emissions / kWh (assumes subbituminous coal as energy source: www.eia.gov/tools/faqs/faq.cfm?id=74&t=11) * 1 US Ton / 2,000 lbs = 0.00108 US Tons carbon emissions / kWh
Economic Impact
Annual cost savings | 4399.5
Cost savings over the life of the proposed system | 87990
Environmental Impact
Annual reduction in resource consumption | 140000 | kWh
Reduction in resource consumption over the life of the proposed system | 2800000 | KWh
Annual reduction in carbon production | 151.2 | US Tons
Reduction in carbon production over the life of the proposed system | 3024 | US Tons
| Describe the anticipated impact of your proposed project on the following |  |  | What evidence suggests this?
Indoor air quality | N/A |  |  | N/A
Exposure to environmental contaminants | N/A |  |  | N/A
Social Impact
| Describe the anticipated impact of your proposed project on the following |  |  | What evidence suggests this?
Workplace safety | Motion sensors will maintain well-lit working and living environments without requiring lights to be on all the time |  |  | N/A
Educational opportunities | Ogg residents and staff will get exposed to the idea of energy efficent lighting indirectly by interacting with the installation and directly through Residence Life education efforts |  |  | N/A
Creation of aestheticly pleasing and social public places | N/A |  |  | N/A

## Example_Budget
University of Wiscosnin-Madison Student Green Fund
Budget Request
Lighting Efficiency Upgrades in the Hallways of Ogg Residence
Budget Item | Green Fund Request | Host Facility Contribution | Outside Grant/Rebate | Total | Explain how you arrived at this cost estimate and your sources of information
Energy efficient light balasts | 4000 |  |  | 4000 | Quote from General Electric see attached
LED light bulbs | 7000 |  |  | 7000 | Quote from General Electric see attached
Motion sensors | 12000 |  |  | 12000 | Quote from General Electric see attached
Wiring and other hardware | 5000 |  |  | 5000 | Quote from General Electric see attached
Labor to procure materials |  | 900 |  | 900 | Estimate from UW Business Services procurement staff (30 person hours @ $30/hr)
Labor to install materials | 7500 |  |  | 7500 | Estimate from Physical plant staff (250 person hours @ $30/hr)
Labor to account for funds during installation and Green Fund payback period |  | 1500 |  | 1500 | Estimate from Ogg Residence accountant (50 person hours @ $30/hr)
Labor to educate residents |  | 600 |  | 600 | Estimate from residence life staff (40 person hours @ $15/hr)
Labor to coordinate the project |  | 1200 |  | 1200 | Estimate from Ogg facilities staff (40 person hours @ $30/hr)
TOTAL | 35500 | 4200 | 0 | 39700
Budget Payback to Green Fund
Budget request from UW-Madison Green Fund | 35500
Estimated annual cost savings | 4399.5
Estimated cost savings for the life of the proposed system | 87990
Years to payback if applicant paid back total Green Fund request | 8.0691
Committed years of returning cost savings to the Green Fund | 8
Total funds comitted to payback to the Green Fund | 35196
Total funds returned to the host facility over the life of the installation | 52794